## PROFORMA INVOICE
PROFORMA INVOICE
Bill To, |  | Deliver To |  |  |  |  | PI # | 18.09.2026 | 18.09.2026
|  | IF DOOR DELIVERED BY US THROUGH TRANSPORTER - CONSIGNEE SEAL IS REQUIRED AT SITE WITHOUT WHICH DELIVERY WILL NOT BE MADE - PLEASE MAKE PRIOR ARRANGEMENT OF COMPANY SEAL AT SITE OF WORK |  |  |  |  | Contact Person
Mobile #
GST |  | WE SUGGEST THE USE OF WHITE / GREY CONDUITS INSTEAD OF BLACK COLOUR
INSPITE OF ALL OUR CONDUITS BEING FRLS, FRLS WILL NOT BE MARKED ON THE CONDUIT - OUR CLAIM OF FRLS IS NOT APPROVED BY BIS
Dear Sir,
We are pleased to offer our lowest prices for your kind consideration for Make Rigid PVC Conduits and Accessories:
SL | DESCRIPTION | HSN CODE | MAKE | COLOUR | UNIT | LIST PRICE | DISCOUNTED PRICE | QTY | AMOUNT
| LIGHT, MEDIUM & HEAVY PVC CONDUIT & ACCESSORIES - | [5 empty] | 0%
1 | 19 mm HEAVY (HMS) FRLS SOCKETED END PVC CONDUIT - NON ISI (1.90 - 2.00 MM) | 39172310 | V I P | White/Black/Grey Red/Blue/Green | Mtr | 26.8 | 26.8 |  | 0
2 | 19 mm PVC Bend | 39174000 | V I P | Any Colour | Each | 7.3 | 7.3 |  | 0
3 | 19 mm PVC Coupler | 39174000 | V I P | Any Colour | Each | 3.3 | 3.3 |  | 0
4 | 19 mm MEDIUM (MMS) FRLS SOCKETED END PVC CONDUIT - NON ISI (1.40 - 1.50 MM) | 39172310 | V I P | Black / White | Mtr | 22 | 22 |  | 0
5 | 19 mm PVC Circular Surface Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 21.1 | 21.1 |  | 0
6 | 19 mm PVC Circular Surface Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 22.4 | 22.4 |  | 0
7 | 19 mm PVC Circular Surface Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 24.8 | 24.8 |  | 0
8 | 19 mm PVC Circular Surface Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 25.1 | 25.1 |  | 0
9 | 19 mm PVC Circular Deep Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 33.8 | 33.8 |  | 0
10 | 19 mm PVC Circular Deep Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 34.5 | 34.5 |  | 0
11 | 19 mm PVC Circular Deep Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 38.1 | 38.1 |  | 0
12 | 19 mm PVC Circular Deep Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 39.6 | 39.6 |  | 0
13 | 19 mm Metal Surface Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 31 | 31 |  | 0
14 | 19 mm Metal Deep Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 52.1 | 52.1 |  | 0
15 | 19 mm G I SADDLE ONLY - HEAVY DUTY (Pack of 200) | 73079990 | Bharat | Galvanized | Each | 2.5 | 2.5 |  | 0
16 | 19 mm G I BAR SADDLE - HEAVY DUTY (Pack of 100) | 73079990 | Bharat | Galvanized | Each | 7.5 | 7.5 |  | 0
17 | 20 mm PVC BAR SADDLE (Pack of 100) | 39174000 | N A | Black | Each | 3.1 | 3.1 |  | 0
18 | 19 mm End Cap for Fittings (Minimum 500 Nos / Pkt) | 39174000 | N A | Black | Each | 2.8 | 2.8 |  | 0
19 | 19 mm Bending Spring | 73201019 | N A | Plated | Each | 400 | 400 |  | 0
20 | 20 mm Polyproplene (PP) Flexible Pipe - (50 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 11.4 | 11.4 |  | 0
21 | 20 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 33 | 33 |  | 0
22 | 20 mm HEAVY (HMS) ISI MARKED SOCKETED END PVC CONDUIT (1.90 - 2.00 MM) | 39172310 | V I P | White/Black/Grey Red/Blue/Green | Mtr | 28.8 | 28.8 |  | 0
23 | 20 mm PVC Bend | 39174000 | V I P | Any Colour | Each | 8 | 8 |  | 0
24 | 20 mm PVC Coupler | 39174000 | V I P | Any Colour | Each | 4.2 | 4.2 |  | 0
25 | 20 mm MEDIUM (MMS) ISI MARKED SOCKETED END PVC CONDUIT (1.40 - 1.50 MM) | 39172310 | V I P | Black / Grey / White | Mtr | 23.3 | 23.3 |  | 0
26 | 20 mm LIGHT (LMS) ISI MARKED SOCKETED END PVC CONDUIT (1.10 - 1.20 MM) | 39172310 | V I P | Black / Grey | Mtr | 20.4 | 20.4 |  | 0
27 | 20 mm PVC Circular Surface Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 21.1 | 21.1 |  | 0
28 | 20 mm PVC Circular Surface Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 22.4 | 22.4 |  | 0
29 | 20 mm PVC Circular Surface Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 24.8 | 24.8 |  | 0
30 | 20 mm PVC Circular Surface Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 25.1 | 25.1 |  | 0
31 | 20 mm PVC Circular Deep Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 33.8 | 33.8 |  | 0
32 | 20 mm PVC Circular Deep Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 34.5 | 34.5 |  | 0
33 | 20 mm PVC Circular Deep Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 38.1 | 38.1 |  | 0
34 | 20 mm PVC Circular Deep Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 39.6 | 39.6 |  | 0
35 | 20 mm Metal Surface Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 31 | 31 |  | 0
36 | 20 mm Metal Deep Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 52.1 | 52.1 |  | 0
37 | 20 mm G I SADDLE ONLY - HEAVY DUTY (Pack of 200) | 73079990 | Bharat | Galvanized | Each | 2.5 | 2.5 |  | 0
38 | 20 mm G I BAR SADDLE - HEAVY DUTY (Pack of 100) | 73079990 | Bharat | Galvanized | Each | 7.5 | 7.5 |  | 0
39 | 20 mm PVC BAR SADDLE (Pack of 100) | 39174000 | N A | Black / White | Each | 9.5 | 9.5 |  | 0
40 | 20 mm PVC Female Bush Adaptor | 39174000 | N A | Blk / Grey / White | Each | 10 | 10 |  | 0
41 | 20 mm End Cap for Fittings (Minimum 500 Nos / Pkt) | 39174000 | N A | Black | Each | 3.1 | 3.1 |  | 0
42 | 20 mm Bending Spring | 73201019 | N A | Plated | Each | 400 | 400 |  | 0
43 | 20 mm Polyproplene (PP) Flexible Pipe - (50 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 11.4 | 11.4 |  | 0
44 | 20 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 33 | 33 |  | 0
45 | 25 mm HEAVY (HMS) ISI MARKED SOCKETED END PVC CONDUIT (1.90 - 2.00 MM) | 39172310 | V I P | White/Black/Grey Red/Blue/Green | Mtr | 38.1 | 38.1 |  | 0
46 | 25 mm PVC Bend | 39174000 | V I P | Any Colour | Each | 10.7 | 10.7 |  | 0
47 | 25 mm PVC Coupler | 39174000 | V I P | Any Colour | Each | 6 | 6 |  | 0
48 | 25 mm MEDIUM (MMS) ISI MARKED SOCKETED END PVC CONDUIT (1.60 - 1.70 MM) | 39172310 | V I P | Blk / Grey / White | Mtr | 34.3 | 34.3 |  | 0
49 | 25 mm LIGHT (LMS) ISI MARKED SOCKETED END PVC CONDUIT (1.20 - 1.30 MM) | 39172310 | V I P | Blk / Grey / White | Mtr | 27.1 | 27.1 |  | 0
50 | 25 mm HEAVY (HMS) FRLS SOCKETED END PVC CONDUIT - NON ISI (1.90 - 2.00 MM) | 39172310 | V I P | Black / White | Mtr | 37.7 | 37.7 |  | 0
51 | 25 mm PVC Circular Surface Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 24.8 | 24.8 |  | 0
52 | 25 mm PVC Circular Surface Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 26.8 | 26.8 |  | 0
53 | 25 mm PVC Circular Surface Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 28 | 28 |  | 0
54 | 25 mm PVC Circular Surface Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 30.1 | 30.1 |  | 0
55 | 25 mm PVC Circular Deep Junction Box with Lid and Screw - 1 Way | 39174000 | V I P | Blk / Grey / White | Each | 36.4 | 36.4 |  | 0
56 | 25 mm PVC Circular Deep Junction Box with Lid and Screw - 2 Way | 39174000 | V I P | Blk / Grey / White | Each | 37.2 | 37.2 |  | 0
57 | 25 mm PVC Circular Deep Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 42 | 42 |  | 0
58 | 25 mm PVC Circular Deep Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 44.8 | 44.8 |  | 0
59 | 25 mm Metal Surface Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 35 | 35 |  | 0
60 | 25 mm Metal Deep Junction Box - 3 & 4 Way Mix | 85369030 | V I P | Black | Each | 53 | 53 |  | 0
61 | 25 mm G I SADDLE ONLY - HEAVY DUTY (Pack of 200) | 73079990 | Bharat | Galvanized | Each | 3.1 | 3.1 |  | 0
62 | 25 mm G I BAR SADDLE - HEAVY DUTY (Pack of 100) | 73079990 | Bharat | Galvanized | Each | 8.4 | 8.4 |  | 0
63 | 25 mm PVC BAR SADDLE (Pack of 100) | 39174000 | N A | Black / White | Each | 11 | 11 |  | 0
64 | 25 mm PVC Female Bush Adaptor | 39174000 | N A | Blk / Grey / White | Each | 12.3 | 12.3 |  | 0
65 | 25 mm End Cap for Fittings (Minimum 500 Nos / Pkt) | 39174000 | N A | Black | Each | 3.3 | 3.3 |  | 0
66 | 25 mm Bending Spring | 73201019 | N A | Plated | Each | 440 | 440 |  | 0
67 | 25 mm Polyproplene (PP) Flexible Pipe - (25 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 15.6 | 15.6 |  | 0
68 | 25 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 42.6 | 42.6 |  | 0
69 | 32 mm MEDIUM (MMS) ISI MARKED SOCKETED END PVC CONDUIT (1.90 - 2.00 MM) | 39172310 | V I P | Blk / Grey / White | Mtr | 50.7 | 50.7 |  | 0
70 | 32 mm PVC Bend | 39174000 | V I P | Blk / Grey / White | Each | 26.4 | 26.4 |  | 0
71 | 32 mm PVC Coupler | 39174000 | V I P | Blk / Grey / White | Each | 13.6 | 13.6 |  | 0
72 | 32 mm HEAVY (HMS) ISI MARKED SOCKETED END PVC CONDUIT (2.50 - 2.60 MM) | 39172310 | V I P | Black | Mtr | 60 | 60 |  | 0
73 | 32 mm PVC Circular Surface Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 49.1 | 49.1 |  | 0
74 | 32 mm PVC Circular Surface Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 51.2 | 51.2 |  | 0
75 | 32 mm PVC Circular Deep Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Blk / Grey / White | Each | 56.7 | 56.7 |  | 0
76 | 32 mm PVC Circular Deep Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Blk / Grey / White | Each | 58.9 | 58.9 |  | 0
75 | 32 mm Metal Junction Box - 3 & 4 Way Mix | 85369030 | Homlite | Black | Each | 80 | 80 |  | 0
77 | 32 mm G I BAR SADDLE - HEAVY DUTY (Pack of 50) | 73079990 | Bharat | Galvanized | Each | 12.7 | 12.7 |  | 0
78 | 32 mm PVC BAR SADDLE - (Pack of 100) | 39174000 | N A | Black | Each | 17.8 | 17.8 |  | 0
79 | 32 mm End Cap for Fittings (Minimum 250 Nos / Pkt) | 39174000 | N A | Black | Each | 8.4 | 8.4 |  | 0
80 | 32 mm Polyproplene (PP) Flexible Pipe - (25 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 22.6 | 22.6 |  | 0
81 | 30 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 55 | 55 |  | 0
82 | 40 mm MEDIUM (MMS) ISI MARKED SOCKETED END PVC CONDUIT (2.10 - 2.20 MM) | 39172310 | V I P | Black / Grey | Mtr | 71.4 | 71.4 |  | 0
83 | 40 mm PVC Bend | 39174000 | V I P | Black / Grey | Each | 38.5 | 38.5 |  | 0
84 | 40 mm PVC Coupler | 39174000 | V I P | Black / Grey | Each | 19.4 | 19.4 |  | 0
85 | 40 mm PVC Circular / Square Junction Box with Lid and Screw - 3 Way | 39174000 | V I P | Black / Grey | Each | 94.7 | 94.7 |  | 0
86 | 40 mm PVC Circular / Square Junction Box with Lid and Screw - 4 Way | 39174000 | V I P | Black / Grey | Each | 97.2 | 97.2 |  | 0
87 | 40 mm Polyproplene (PP) Flexible Pipe - (20 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 31.4 | 31.4 |  | 0
88 | 40 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 63.1 | 63.1 |  | 0
89 | 50 mm LIGHT (LMS) ISI MARKED SOCKETED END PVC CONDUIT (2.10 - 2.20 MM) | 39172310 | V I P | Black | Mtr | 95.6 | 95.6 |  | 0
90 | 50 mm PVC Bend | 39174000 | V I P | Black | Each | 54.1 | 54.1 |  | 0
91 | 50 mm PVC Coupler | 39174000 | V I P | Black | Each | 25.9 | 25.9 |  | 0
92 | 50 mm Polyproplene (PP) Flexible Pipe - (15 Mtr Roll) | 39173100 | ZED-TUBE | Blk / Grey / White | Mtr | 47.3 | 47.3 |  | 0
93 | 50 mm Steel Reinforced PVC Flexible Pipe (Fire Retardant) (30 Mtr Roll) | 39172190 | Champion | Grey | Mtr | 88 | 88 |  | 0
FAN BOX -
94 | Metal Fan Box - Powder Coated - Red Colour | 73072900 | V I P | Red | Each | 88 | 88 |  | 0
95 | Spot Light Box - With Ear - Powder Coated - Red Colour - 90 mm Dia | 73072900 | V I P | Red | Each | 80 | 80 |  | 0
PVC SOLVENT - INSULATION TAPE - BROWN TAPE
96 | PVC Solvent (250 ml Bottle) | 35069190 | V I P | Clear | Each | 138 | 138 |  | 0
97 | Insulation Tape (Whatever Colours Available) | 85469090 | Wonder | Multi Colour | Each | 23.1 | 23.1 |  | 0
98 | Brown Tape - 2" (48 mm) (42 Micron - 50 Mtr Length) | 39199090 | ANY | Brown | Each | 59 | 59 |  | 0
20G MODULAR METAL BOX FOR MAJOR BRANDS OF SWITCHES
99 | Metal Box - 2 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 42.4 | 42.4 |  | 0
100 | Metal Box - 3 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 52.3 | 52.3 |  | 0
101 | Metal Box - 4 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 65.3 | 65.3 |  | 0
102 | Metal Box - 6 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 86 | 86 |  | 0
103 | Metal Box - 8 Module - 20G - Horizantal / Vertical Type | 85389000 | V I P | Galvanized Metal | Each | 103 | 103 |  | 0
104 | Metal Box - 12 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 143 | 143 |  | 0
105 | Metal Box - 16 Module -20G | 85389000 | V I P | Galvanized Metal | Each | 161 | 161 |  | 0
106 | Metal Box - 18 Module - 20G | 85389000 | V I P | Galvanized Metal | Each | 196 | 196 |  | 0
18G MODULAR METAL BOX FOR MAJOR BRANDS OF SWITCHES
107 | Metal Box - 2 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 50.3 | 50.3 |  | 0
108 | Metal Box - 3 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 58.5 | 58.5 |  | 0
109 | Metal Box - 4 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 71 | 71 |  | 0
110 | Metal Box - 6 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 98.5 | 98.5 |  | 0
111 | Metal Box - 8 Module - 18G - Horizantal / Vertical Type | 85389000 | V I P | Galvanized Metal | Each | 125.8 | 125.8 |  | 0
112 | Metal Box - 12 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 161.4 | 161.4 |  | 0
113 | Metal Box - 16 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 178.6 | 178.6 |  | 0
114 | Metal Box - 18 Module - 18G | 85389000 | V I P | Galvanized Metal | Each | 231 | 231 |  | 0
Delivery - Subject to availability at time of dispatch. Please mention colour of conduit & accessories required in your PO | [5 empty] | SUB TOTAL |  |  | 0
Freight - FOR SITE, if basic invoice value is more than Rs 2.00 Lac (Within Bangalore City Limits in an enroute shared vehicle at a time suitable to us). Otherwise, EXTRA (+ GST @18%) for dedicated vehicle, freight to your account. Unloading in your scope. | [5 empty] | Add Delivery Charges to VRL Transport Godown @ BLR / Work Site @ BLR
Payment - 100% Against Proforma (Dispatches will start within 48 hrs from payment) - Warranty - 12 Months - We are a MSME Unit | [5 empty] | Add Outstation Delivery Charges
Price Validity: The price list prevailing at the time of dispatch shall be applicable. In the event that any Purchase Order is not approved by us for any reason prior to the issuance of a revised price list, such PO will be required to be amended in accordance with the price list prevailing at the time of dispatch. Applicable Price List will be available on our website, www.vippipe.com. Above offer is based on our Current Price List Dated 18.09.2026 | [5 empty] | Add GST @ |  | 18% | 0
Force Majeure Clause: We shall not be held liable for any failure or delay in fulfilling our obligations to supply materials at the prices specified in our Proforma Invoice, Quotation, or any PO issued by the Buyer, to the extent that such failure or delay is caused by a Force Majeure Event. A Force Majeure Event includes, but is not limited to, events beyond our reasonable control such as Acts of God, War, Riot, Fire, Explosion, Accident, Flood, Pandemic, Epidemic, Strikes, Bandh, Lockout due to Labour Unions, Government-imposed Quarantine, or Embargo. In such circumstances, the PO shall be required to be amended accordingly or withdrawn.
OUR GSTIN # 29 AAJFN 4830 G1Z4 |  | OUR MSME REGN # 290201202332
|  | UDHYAM REGN # UDYAM-KR-03-0012435 |  |  |  | GRAND TOTAL |  |  | 0
This is to inform you that the following is our Bank Detail and ALL PAYMENTS ARE TO BE MADE TO THIS ACCOUNT ONLY - WE WILL NOT BE RESPONSIBLE FOR PAYMENTS MADE TO ANY OTHER BANK ACCOUNT. |  | Our Bank Details: A/C Name - NATIONAL PIPE PRODUCTS Account # - 1189 5500 0040 72 Federal Bank, Gandhinagar Branch, Bangalore - 560009. RTGS / NEFT / IFSC Code - FDRL 000 1189
It is not advisable to use PVC DEEP junction box in Slab. The Bureau of Indian Standards also does not have a particular specification for Deep Junction Boxes. There is a considerable difference in height of the conduit and the mouth / insert of the junction box when installed. Any external pressure due to manpower stepping on the conduit closer to the joint will result in breaking of the mouth / insert of the Junction Box. Due care is to be taken. We will not be responsible for such breakages.
http://www.vippipe.com/wp-content/uploads/2026/09/PROFORMA-INVOICE-LP-DATED-18.09.2026-.xlsx